## Sheet1
Electrical contact with energized facilities reported under 4 CSR 240-3.190
| Date of contact | Type of contact | Resulting action
1 | 2010-10-11 | Construction worker working on roof near weatherhead received electrical injuries. | Red mark on shoulder, ringing ears, taken to hospital.
2 | 2011-01-27 | Employee shocked when boom truck touched primary wire and worker subsequently touched a bin door. | No visible injuries, but was taken to the hospital and held overnight for observation. Returned to work the next day.
3 | 2011-03-11 | Underground line worker was working on what was supposed to be de-energized, but was energized. | Employee was conscious and no apparent injuries. Went to hospital for observation.
4 | 2011-03-16 | Customer touched line while operating a power lift. | Death.
5 | 2011-03-17 | Private crane touched power line. Hook on the end of the crane rope touched a lamp post that the injured was touching. | Taken to local hospital.
6 | 2011-04-01 | Vehicle struck pole with single phase, 7200 V line. | Driver burned and taken to hospital.
7 | 2011-06-11 | Tree worker in contact with 7200 V single phase line. | Transported to hospital, admitted for treatment.
8 | 2011-06-18 | Employee made contact with 2400 V conductor while working from bucket. | Admitted to hospital but later released.
9 | 2011-06-24 | Employee working on internal office wiring suffered electrical contact and fell. | Admitted to hospital.
10 | 2011-06-25 | Lawn mower contacted an extension cord on customer's side of meter. | Death.
11 | 2011-06-25 | Electric contact on customer side of meter by digging into underground line. | Sought medical attention at local hospital.
12 | 2011-06-28 | Contact was made with a single phase 7620 V conductor via metal pole (thought to be flag pole). | Taken to local hospital.
13 | 2011-09-22 | Vegetation supervisor was shocked when bucket made contact with Phase 3 line. | Kept overnight for observation.
14 | 2011-09-27 | Contract pole inspector was digging around a transformer pole inspecting for wood rot. Received a shock when he hit the underground secondary with his spade. | Continued working.
15 | 2011-11-15 | Report of stolen copper grounding conductor. While investigating the theft, the sheriff found evidence of an electrical contact. No one was on-site at the time of the discovery and investigation. | Authorities subsequently charged two individuals with the theft. One of the suspects had been admitted to the hospital emergency room with severe electrical contact burns.
16 | 2011-12-09 | Individual gained entry to electric substation by climbing fence and using a ladder. Came into contact with 34kV phase-to-phase. Police report filed. $16,000 of material missing from substation. | Individual taken to hospital.
17 | 2011-12-20 | Employee doing maintenance at plant. Electric drill locked up and hit her in the head causing her to fall to level below. | Transferred to hospital and later pronounced dead.
18 | 2012-01-18 | Four employees were removing upper turbine bearing for repair. Bearing dropped unexpectedly resulting in pinched fingers of 2 employees. | Amputation of index and middle finger below the PIP joint for one employee and amputation of index finger above the PIP joint for other employee.
19 | 2012-03-27 | Tree service working when a conveyor for a tub grinder struck the power line. Tree service not working for utility. | Worker was treated and released.
20 | 2012-03-30 | Contractor for trucking company raised the bed of his truck and hit a 34kV line at power plant site. | Taken to medical center burn unit.
21 | 2012-05-09 | Roofing contractor operating boom on delivery truck came into contact with 14.4kV line while preparing to store boom. | Operator taken by ambulance to hospital. Employee standing beside truck air-lifted to hospital.
22 | 2012-05-20 | Apparent electric shock while trying to steal copper. Location where line transitions from overhead to underground. | Individual taken to hospital.
23 | 2012-05-21 | Gutter contractor came in contact with primary line. | Taken to local hospital.
24 | 2012-05-24 | Contractor opened valve to supply air to railway supply train. Air hose blew off the connection and hit employee in the face. | Hospitalized overnight and released.
25 | 2012-05-31 | Cable company employee touched secondary wire. | Drove himself to hospital.
26 | 2012-06-07 | Line worker experienced contact with a 7.2kV single-phase primary conductor. | Taken to urgent care and later to hospital for tests. Released without restriction later that day.
27 | 2012-06-15 | Two people were electrocuted when a pole they were trying to raise, possibly an antenna, contacted a single-phase primary line. | Taken to hospital.
28 | 2012-06-17 | Person electrocuted when stepping on a damagend energized wire near a pool on the customer's side of the meter. | Treated for burn on bottom of foot.
29 | 2012-07-04 | Electrocution in water-dock at Lake of the Ozarks not grounded or problem with lights and pump that supplies water to slide. | 2 deaths.
30 | 2012-07-07 | 3 individuals received electrical shock at a boat dock at Lake of the Ozarks. | 2 alert and conscious, transported to hospital. 3rd given CPR and transported to hospital, but did not survive.